## Sheet1
The SW Ohio Integrated Microsystems Workforce & Research Center
Equipment needs and Equipment Currently at UD
Currently
Equipment Category | SW Ohio IMW&R Center Equipment Needs | Initial Cost |  | Need | at UD?
Lithography | Electron beam lithography (EBL) (50kV/40nA - 100kV/350nA) | 1300000 |  | A necessary tool for nanoelectronics and nanophotonics with lithographic patterning smaller than 100 nm | No
Lithography | Laser beam lithography (LBL) | 350000 |  | For photomask creation and rapid prototyping structures larger than 300nm | No
Lithography | UV / i-line stepper | 150000 |  | Common system used in chip production that can be used in research and training | No
Metrology | Atomic Force Microscope (AFM) | 100000 |  | Surface characterization | No
Metrology | Cryogenic Chambers/ ColdFingers | ? |  | For material characterization at liquid N2 and liquid He temperatures | No
Thin Film Deposition | Atomic Layer Deposition (ALD) | 350000 |  | For ultrathin conformal dielectric film deposition | No
Thin Film Deposition | Low pressure chemical vapor deposition (LPCVD) | 250000 |  | Conformal highquality nitride and oxide thin films | No
| TOTAL EQUIPMENT NEEDS: | 2500000 | +
Currently
Equipment Category | Equipment currently at the University of Dayton | Initial Cost |  | Need | at UD?
Etching | ICP/RIE Plasma etcher | 300000 |  | For etching silicon, metals, compound semiconductors | Yes
Etching | Oxygen/argon plasma asher | 25000 |  | For substrate cleaning and photoresist removal | Yes
Etching | Wet chemical etching | 10000 |  | Chemical etching of metals, dielectrics, and semiconductors | Yes
Lithography | Photoresist processing tools | 150000 |  | Basic tools necessary for doing any type of photolithography and microfluidic devices. | Yes
Lithography | UV Contact Mask Aligner | 350000 |  | The most common lithography system used in R&D labs for features larger than 500 nm. | Yes
Lithography | Wafer Bonder | 200000 |  | For hybrid Integration of diverse materials that cannot be deposited on the same substrate | Yes
Metrology | Fourier Transform Infrared (FTIR) Spectroscopy | 25000 |  | For infrared absorption spectroscopy of materials | Yes
Metrology | Optical microscopy | 50000 |  | General optical inspection of devices down to 500 nm | Yes
Metrology | Raman Spectroscopy | ? |  | For determining molecular structure, chemical bonds and crystallinity | Yes
Metrology | Scanning electron microscopy (SEM) | 500000 |  | For inspection of structures smaller than 500nm | Yes
Metrology | Spectroscopic Ellipsometer | 50000 |  | Basic optical characterization of thin films | Yes
Metrology | Stylus profilometer | 75000 |  | For physical measurement of thin film surface topography | Yes
Metrology | Transmission electron microscopy (TEM) | 500000 |  | For inspection of ultrasmall/ultrathin features | Yes
Metrology | Wafer (Electrical) Probe Station | 20000 |  | To measure I-V and CV characteristics of most electrical/electronic devices | Yes
Metrology | White light interferometry | ? |  | For optical surface characterization and roughness measurements | Yes
Metrology | X-ray diffraction (XRD) | 500000 |  | For determining crystal quality | Yes
Packaging | Wafer dicing | 50000 |  | To separate a wafer into chips | Yes
Packaging | Wire Bonder | 25000 |  | To make electrical connections between the chip to the chip carrier | Yes
Thermal Processes | Diffusion doping furnaces | 100000 |  | For creating p-type and n-type doping areas in silicon and germanium and other hybrid materials | Yes
Thermal Processes | Rapid thermal annealer | 75000 |  | For activating ionimplanted dopants and for fast high temperature annealing (150C/sec) | Yes
Thermal Processes | Thermal oxidation furnaces | 100000 |  | For thermally oxidizing silicon wafers | Yes
Thin Film Deposition | Electron-beam thermal evaporator | 125000 |  | Metal and dielectric deposition for lift-off patterning | Yes
Thin Film Deposition | Plasma-enhanced chemical vapor deposition (PECVD) | 200000 |  | For oxide and nitride film depositions in CMOS chip fabrication, passivation & etch masks | Yes
Thin Film Deposition | Pulsed Laser Deposition (PLD) | ? |  | Deposition of complex stoichiometry thin films | Yes
Thin Film Deposition | RF/DC sputter deposition | 150000 |  | Deposition of metal and dielectric thin films used in optical coatings | Yes
| TOTAL EQUIPMENT CURRENTLY AT UD: | 3580000 | +
Class 100 Cleanroom Laboratory Facilities Costs to be funded through alternate means |  |  |  | Need
5000 square feet times a square foot cost of $500 results in $2,500,000 in facility infrastructure costs